# PRODUCT DETAILS

| Product number: |  |
| --- | --- |
| Lot.-Number |  |
| Order Time |  |

| Order quantity |  |
| --- | --- |

Did you repeat the experiment?

|  | Yes |
| --- | --- |
|  | No |

Did you use this product before?

|  | Yes |
| --- | --- |
|  | No |

Did the same outcome occur every time?

|  | Yes |
| --- | --- |
|  | No |

# SAMPLE DETAILS

- Which samples did you use?

|  | Serum |  |
| --- | --- | --- |
|  | Plasma |  |
|  | Tissue Homogenate |  |
|  | Biological Fluids (Urine etc.): |  |
|  | Cell Culture Supernatant |  |
|  | Protein (recombinant, purified) |  |
|  | Other: |  |

- For how long did you store your samples?

|  | Freshly used |  |
| --- | --- | --- |
|  | 1 month~3 months |  |
|  | 3 months~6 months |  |
|  | 6months~12 months |  |
|  | >1 year |  |
|  | Other: |  |

- What conditions did you store your samples in?

Temperature:

Buffer:

- What are the groups of samples？

|  | normal |  |
| --- | --- | --- |
|  | Model group |  |
|  | patients group |  |
|  | Other: |  |

- Which sample species did you use?

|  | Human |  |
| --- | --- | --- |
|  | Mouse |  |
|  | Rat |  |
|  | Other: |  |

- Which lysis buffer did you use? 	N/A

|  | Supplied in Kit |
| --- | --- |
|  | RIPA buffer |
|  | SDS buffer |
|  | Other: |

- Did you sonicate the samples?    N/A

|  | Yes |
| --- | --- |
|  | No |

- Which sample dilution did you use?

|  | 1:100 |  |
| --- | --- | --- |
|  | 1:50 |  |
|  | 1:10 |  |
|  | No dilution |  |
|  | Other: |  |

- How did you dilute your samples? Please explain if you used standard diluent, PBS, etc.

- If the kit contained BALANCE Solution, was it added to your samples?   Yes:                          No:

- How much sample (lysate) was loaded per well?

|  | 100 µl |  |
| --- | --- | --- |
|  | 40 µl |  |
|  | Other: |  |

- Did you use negative and/or positive controls? If yes, please indicate the type.

|  | Yes | Type: |  |
| --- | --- | --- | --- |
|  | No |  |  |

# PROTOCOL DETAILS

- Were all reagents and samples brought to room temperature before use?

|  | Yes |
| --- | --- |
|  | No |

- How did you perform the standard dilution?

|  | Other: |  |
| --- | --- | --- |

- How long did the final color reaction last before you added the stop solution?

|  | 30 minutes |  |
| --- | --- | --- |
|  | 15 minutes |  |
|  | 10 minutes |  |
|  | Other: |  |

- Did you perform any steps differently than stated in the manual?

|  | Yes | Which ones? |  |
| --- | --- | --- | --- |
|  | No |  |  |

- Please state the Detecting Wavelength:

|  | 450 nm |  |
| --- | --- | --- |
|  | Other: |  |

# COMMENT

Use the box below for additional details:

# TEST DATA REQUIRED

- Plate design/ distribution of samples, controls and standards

- Standard curve (including test results with OD and standard concentration)

- Sample data (please provide the data in Excel table format)

- % CV values (if you encountered high  variation / %CV values please indicate the replicates and state the CV values calculated)